## Introduction
Road to Resilience; Energy Solutions
Tabs in this Workbook:
Energy Supply Summary - The tables on this tab show the overall target and solution numbers. The solution numbers are linked from the following tabs:
1. Returning Electricity Export
1.A MB Hydro Annual Report Data
2. Deep Retrofits
2.A Data from Efficiency Manitoba
2.B Case Study - Geothermal
3. Solar Potential
4. Wind Potential
5. Energy Storage
Overview
Hello and thank you for your interest in seeing Manitoba become a prosperous, carbon-neutral province as soon as possible.
Climate change is a threat to us all. In Volume 1 of Road to Resilience, we illustrated the emissions path Manitoba must follow from now until 2050.
In Volume 2, we demonstrate that moving off fossil fuels is not only possible, but also extremely advantageous to Manitoba's economy.
Volume 2 is presented in two parts; the first describes an energy pathway that moves Manitoba off fossil fuels, while the second part describes the economic impacts of this transition.
Energy Section Introduction
Most Manitobans are likely surprised to learn that over 70% of the energy we use each year comes from fossil fuels. |  |  | Source: | https://www.cer-rec.gc.ca/en/data-analysis/energy-markets/provincial-territorial-energy-profiles/provincial-territorial-energy-profiles-manitoba.html
Our fossil fuels addiction is responsible for over 60% of Manitoba's annual greenhouse gas (GHG) emissions. |  |  | Source: | http://climatechangeconnection.org/emissions/manitoba-ghg-emissions/
Less than 30% of our energy - from electricity and biofuels - could be considered "low-carbon".
A first step on the path to becoming a carbon neutral province is to stop using fossil fuels and switch to low-carbon electricity instead.
This leads to a key question: how much electricity do we need to replace our fossil fuel use?
Manitoba Hydro answered this question as part of their 2018 Load Forecast report to the Public Utilities Commission (PUB).
Specifically, on page 68 of Appendix 15 in this report to PUB, Hydro estimates the additional electricity required to be: |  |  | Source: | https://www.hydro.mb.ca/docs/regulatory_affairs/pdf/electric/electric_rate_application_2019/15_appendix_15_-_2018_electric_load_forecast.pdf
8516 | MW of additional power (i.e. peak load capacity), and
28124 | GWh of additional energy
This means we must double the amount of low-carbon energy available, and more than double the peak load capacity of Manitoba's grid.
Doing so will enable us to switch all vehicles and buildings off of fossil fuels.
Manitobans have been told for decades that we have "surplus energy", but in truth we don't. That myth can only continue if we ignore climate reality.
Our Challenge:
Where could additional low-carbon energy come from to replace our fossil fuel addiction?
Manitoba has historically turned to hydro-electric power to meet its energy needs, but we wanted to avoid this approach for three reasons:
-hydro dams have had enormous negative impacts on Indigenous communities. It is not our place to say if any new dams will be built.
-Manitoba's electricity grid is very risk-exposed to drought, especially as climate change gets worse. Building more dams will further increase these risks.
-hydro dams take a long time to build and are incredibly expensive compared to many other options readily available today.
Our Answer:
We investigated nine energy policies/technologies, and found five that should provide enough low-carbon electricity to transition off fossil fuels
The five recommended action areas are:
1. Return exported electricity to Manitoba
2. Make buildings more energy efficient and convert them to geothermal heat pumps for heating/cooling. Install rooftop solar panels wherever feasible.
3. Build more commercial-scale wind farms
4. Build more commercial-scale solar farms
5. Increase energy storage by returning exported capacity, using electric vehicles and by constructing new commercial-scale battery-based energy storage facilities.
Two of the other energy options we investigated - landfill gas and waste heat from specific types of buildings - are worthwhile but won't make much of an impact at the scale of this challenge.
The remaining two options were more hydro dams (described above) and deep geothermal for electricity generation which is too expensive and experimental at this point in time.
The Results:
Taken together, implementing these climate actions will achieve the following:
-Reduce Manitoba's annual climate pollution by roughly 13,000,000 tonnes CO2e (~60% of provincial total)
-Create enough low-carbon electricity to cut emissions by 50% in 2030 and by 100% by 2050 in our building and road transportation sectors
-Generate net savings for Manitoba households and businesses
-Increase Manitoba Hydro's annual revenue without raising rates
-Improve the climate resiliency of our provincial electricity grid through energy diversification
-Create a net increase in employment of several hundred thousand job-years
-Enhance government revenues without increasing taxes; and,
-Grow the provincial economy by tens of billions of dollars by 2050
Our research results also demonstrate that all of this can be accomplished starting now, using readily available policies and proven technology
Additional research is required to examine other GHG-emitting sectors we could not cover here, including agriculture, landfills and heavy industrial emitters
The particular mix of new energy sources we call for is just one path of many available in Manitoba.
Fundamentally, Manitoba's governmental and private sector leaders must immediately pick their low-carbon path, and implement it with haste.
How to Read this Report
We present our findings in two stages:
1. Each of our five recommended action areas are assessed for their energy potential (orange tabs)
2. The predicted economic impacts of each action area are described, based on the scale of activity we recommend (purple tabs)
Summary tabs for both the Energy and Economic results are available for easy reference.
An Implementation Tab (brown) describes our rationale for the speed at which these actions should occur.
We recognize that a spreadsheet is an unusual format for a policy paper.
The advantage is that data cells can be linked to each other, so that changes made to one part of the spreadsheet are automatically updated everywhere else.
For instance, if we increase the amount of new wind power Manitoba should build, that change will automatically occur in the Energy and Economic Summary tabs as well as the Economic tab on Wind.
Conversely, if we learn we have overestimated the amount of energy available from an option, all related calculations will decrease accordingly.
For ease of viewing, we have colour-coded some of the cells with the following meanings:
| Red = | Cells showing our energy and peak capacity goals
| Green = | Cells that are linked to data on another tab in the report
| Yellow = | Cells where our data is the best we could find, but additional expertise would be helpful
| Blue = | Cells that are variables. These can be changed depending on the scale of action desired (i.e. more or less wind or solar power, for instance)
Web links for all of our information sources are provided immediately to the right of the statement requiring a Source (such as above on this tab).
Your assistance in reviewing/contributing/promoting our work is greatly appreciated. Thank you in advance for any and all efforts received.
All feedback, including requests for a presentation of our report, should be sent to: (insert email address here)

## Energy Supply Summary
Road to Resilience - Volume 2 |  |  |  | Legend
Energy Supply Summary |  |  |  | Red = | Energy/Peak Load Goals
|  |  |  | Green = | Linked to data on another tab
|  |  |  | Yellow = | Further expertise appreciated
|  |  |  | Blue = | Varibables
The chart below summarizes the role each of our five recommended actions could play to help Manitoba transition off fossil fuels.
The amount of peak electricity demand (in MW) and energy (in GWh) from each recommended action is also identified.
Further calculations below demonstrate these recommended actions will also cover expected increases in domestic usage over time.
Recommended Actions | Peak Demand (Firm MW) | Energy (GWh/yr) | % of target (Power) | % of target (Energy)
1. Return Electricity Exports
1.1 Firm exports | 1605 | 2763.2384 | 18.85% | 9.825%
1.2 Spot market exports | 0 | 6191.5571 | 0% | 22.02%
Sub-Total | 1605 | 8954.7955 | 18.85% | 31.84%
2. Deep Retrofits to Buildings | 4256.9168 | 12650.8916 | 49.99% | 44.98%
3. Solar Power
3.1 Rooftop | 0 | 1910.436 | 0% | 6.793%
3.2 Commercial (Ground Mounted) | 0 | 6550.875 | 0% | 23.29%
Sub-Total | 0 | 8461.311 | 0% | 30.09%
4. Wind Power | 1600 | 17733.3333 | 18.79% | 63.05%
5. Energy Storage
5.1 Buildings | 460.7467 | 0 | 5.41% | 0%
5.2 Commercial energy storage | 1600 | 0 | 18.79% | 0%
5.3 Electric Vehicles | 2941.1951 | 0 | 34.54% | 0%
5.4 Return exported firming capacity | 0 | 0 | 0% | 0%
Sub-Total | 5001.9417 | 0 | 58.74% | 0%
Total Identified | 12463.8585 | 47800.3315
Target | 8516 | 28124
% Achieved | 146.4% | 170% | 146.4% | 170%
Reality Check #1: Intermittent Solar Energy
Peak usage in Manitoba will be in the morning of very cold days during winter, when there will be no solar power or energy available. Need to confirm sufficient capacity:
| Power (MW) | Energy (GWh)
Total power/energy obtained: | 12463.8585 | 47800.3315
Minus solar power/energy: | 0 | 8461.311
Remaining | 12463.8585 | 39339.0205
Target | -8516 | -28124
Surplus Available After Meeting Goal: | 3947.8585 | 11215.0205
Conclusion: we have identified more than enough power and energy, even when the contributions from solar power are removed.
Reality Check #2: Domestic Load Growth
Even without a significant shift to electricity, Manitoba's load growth and energy usage increases each year c/o population, economic growth etc
Manitoba Hydro has estimated this growth as follows: |  | Peak Load (MW) | Energy (GWh) |  | Source (p.3) | https://www.hydro.mb.ca/docs/regulatory_affairs/pdf/electric/electric_rate_application_2019/15_appendix_15_-_2018_electric_load_forecast.pdf
Annual growth (MW) from 2017/18 to 2026/27 |  | 57 | 276
x 10 years |  | 10 | 10
Sub-Total |  | 570 | 2760
Annual growth from 2027/28 to 2036/37 |  | 64 | 325
x 10 years |  | 10 | 10
Sub-Total |  | 640 | 3250
Manitoba Hydro has not projected beyond 2037/38, but we assume peak load and energy use continues to grow at the same rate to 2050
Annual growth from 2037/38 to 2046/47 |  | 71 | 374
x 10 years |  | 10 | 10
Sub-Total |  | 710 | 3740
Annual growth from 2047/48 to 2050/51 |  | 78 | 423
x 3 years |  | 3 | 3
Sub-Total |  | 234 | 1269
Minus returned firming capacity in 2035 |  | -187
Total |  | 1967 | 11019
Surplus after solar energy removed: |  | 3947.8585 | 11215.0205
Surplus after solar energy and domestic growth: |  | 1980.8585 | 196.0205
Conclusion: even with our cautious numbers, we have identified enough power and energy to account for both domestic growth and the intermittent nature of solar energy.
These numbers also do not include any increased load capacity or energy available from the soon-to-be-completed Keeyask dam

## 1. Returning Electricity Export
Energy Supply Opportunity:
Returning Hydro Exports
Summary of Opportunity
Every year Manitoba Hydro meets the electricity demands of all Manitoba customers and sells excess electricity to SK, ON and some USA states
For this reason most Manitobans believe we have "more electricity than we need", but this is only true if we continue to ignore climate change
In truth, 75% of the energy Manitobans use each year comes from fossil fuels, primarily gasoline and diesel fuels for vehicles and methane ("natural gas") for indoor heating | [7 empty] | Source: | https://www.cer-rec.gc.ca/en/data-analysis/energy-markets/provincial-territorial-energy-profiles/provincial-territorial-energy-profiles-manitoba.html
Re-allocating exported electricity to replace fossil fuel use is one of the easiest and most financially lucrative climate actions we can take in Manitoba
Manitoba Hydro's exports happen in two different ways:
-"Firm" contracts are multi-year agreements where the customer pays a guaranteed price and Hydro guarantees a certain amount of power will be available 24/7
-"Spot Market" sales are very short term with no guarantees or obligations on either side
On tab 1.A, we have summarized data from the last seven years of Manitoba Hydro's Annual Reports, including domestic and export energy deliveries.
Throughout 2014/15 to 2020/21, the residential rate for electricity has been higher than the average spot market price. The same is now also true of the average firm market price. | [7 empty] | Source: | https://www.hydro.mb.ca/accounts_and_services/rates/
The financial advantages to both Manitobans and to Manitoba Hydro of returning exported electricity are explored in the economic section.
Part A: Technical Assessment
1. How much peak load (MW) is currently assigned to firm exports?
2. What is the energy value (GWh) of firm exports?
3. What is the energy value (GWh) of spot market exports?
4. How much additional peak load (MW) would be available if spot market energy was used in Manitoba instead?
1. How much peak load (MW) is currently assigned to firm exports?
Firm exports are long-term contracts where Manitoba Hydro guarantees an amount of peak load, 24-7 to their customer for a negotiated number of years
In return, Manitoba Hydro receives a guaranteed price for the energy provided.
A list of firm export customers and the amount of peak load provided to each of them is available from Manitoba Hydro's website: | [5 empty] | Source: | https://www.hydro.mb.ca/corporate/electricity_exports/power_sale_arrangements/
975 MW of exported peak load (over half of total) is in contracts that will expire over the next five years
1,255 MW (73% of total) is in contracts that will expire by 2030
Customer | MW | End Date
SaskPower | 25 | 2022
Northern States Power | 125 | 2025
Northern States Power | 375 | 2025
Northern States Power | 350 | 2025
Wisconsin | 100 | 2027
Basin Electric | 80 | 2028
Great River | 200 | 2030
Minnesota Power | 250 | 2035
SaskPower | 100 | 2040
MW available by 2030: | 1255 | MW
Total MW available by 2050: | 1605 | MW
All of the peak demand load in this list could be returned to Manitoba when the contracts expire
Two additional export deals worth 105 MW (Minnesota Municipal) and 215 MW (SaskPower) don't expire until after 2050 and so are not included in this list
2. What is the energy value (GWh) of firm exports?
Manitoba Hydro's annual reports include data on the amount of energy sold each year on firm contracts.
This data for past seven fiscal years (2014/15 to 2020/21 inclusive) has been compiled on the next tab.
The average annual amount of energy sold on firm export contracts has been: |  |  |  | 3142 | GWh
Reduce c/o energy not available from 220 MW in export contracts beyond 2050 |  |  |  | 87.95%
Average amount of firm market energy available to return to Manitoba by 2050: |  |  |  | 2763.2384 | GWh
3. What is the energy value (GWh) of spot market exports?
The data on the next tab shows the volume of Manitoba Hydro's spot market sales for the past seven fiscal years (2014/15 to 2020/21 inclusive)
The average annual amount of energy sold on the spot market has been: |  |  |  | 6517.4286 | GWh
A key challenge to using spot market energy in Manitoba will be to greatly increase our ability to store this energy until it is needed.
Even with improved storage, there is always the possibility that some surplus energy will need to be exported.
Assigned percentage of spot market energy that can be used in Manitoba: |  |  |  | 95%
Estimated amount of energy from spot market exports available for use in MB |  |  |  | 6191.5571 | GWh
4. How much additional peak load (MW) would be available if spot market energy was used in Manitoba instead?
The best way to obtain additional peak load from spot market sales is to store this energy until needed by Manitobans.
To avoid double-counting, we have assigned the anticipated gains in firm MW capacity to the Energy Storage section.
Amount of peak load from spot market: |  | 0 | MW

## 1.A MB Hydro Annual Report Data
Energy Supply Opportunity:
Returning Hydro Exports
Supplemental Information - Manitoba Hydro Annual Reports
Domestic Sales: | Revenue ($M) | [6 empty] | Electricity Volume Sold (millions of kWh) | [6 empty] | Averages |  |  | Current Rates
Fiscal Year | 14/15 | 15/16 | 16/17 | 17/18 | 18/19 | 19/20 | 20/21 | 14/15 | 15/16 | 16/17 | 17/18 | 18/19 | 19/20 | 20/21 | $(M) | GWh | $/KWh
Domestic
-Residential | 602 | 575 | 582 | 616 | 735 | 729 | 767 | 7788 | 7181 | 7250 | 7636 | 8001 | 7695 | 8019 | 658 | 7652.8571 | 0.085981 | 0.09324 | Source: | https://www.hydro.mb.ca/accounts_and_services/rates/residential_rates/
-Commercial * | 501 | 495 | 496 | 508 | 594 | 594 | 577 | 7158 | 6876 | 6873 | 7041 | 7226 | 6971 | 6652 | 537.8571 | 6971 | 0.077156 | 0.0376 to .09485 | Source: | https://www.hydro.mb.ca/accounts_and_services/rates/commercial_rates/#e-sgs
-Industrial * | 321 | 329 | 341 | 340 | 378 | 379 | 370 | 7512 | 7597 | 7843 | 7828 | 7543 | 7336 | 7030 | 351.1429 | 7527 | 0.046651
Sub-Total | 1424 | 1399 | 1419 | 1464 | 1707 | 1702 | 1714 | 22458 | 21654 | 21966 | 22505 | 22770 | 22002 | 21701 | 1547 | 22150.8571 | 0.069839
Other Revenue | 30 | 31 | 48 | 30 | 26 | 26 | 28 | [7 empty] | 31.2857
Domestic Revenue | 1454 | 1430 | 1467 | 1494 | 1733 | 1728 | 1742 | [7 empty] | 1578.2857
* Commercial and Industrial customers receive a range of different electricity rates and demand charges.
[15 empty] | Averages |  |  | Price vs Residential Rate
Extraprovincial Sales: | Revenue ($M) | [6 empty] | Electricity Volume Sold (millions of kWh) | [6 empty] | $(M) | GWh | $/KWh
-Dependable/Firm | 183 | 206 | 248 | 260 | 267 | 267 | 442 | 3132 | 2701 | 3310 | 3361 | 2683 | 2652 | 4155 | 267.5714 | 3142 | 0.08516 | 0.0080804
-Opportunity/Spot | 193 | 197 | 202 | 168 | 148 | 188 | 159 | 6679 | 7580 | 7962 | 6087 | 3584 | 6977 | 6753 | 179.2857 | 6517.4286 | 0.027509 | 0.065731
-Other | 8 | 12 | 10 | 9 | 15 | 13 | 10 | [7 empty] | 11
Extraprovincial Revenue | 384 | 415 | 460 | 437 | 430 | 468 | 611 | 9811 | 10281 | 11272 | 9448 | 6267 | 9629 | 10908 | 457.8571 | 9659.4286 | 0.0474
Total | 1838 | 1845 | 1927 | 1931 | 2163 | 2196 | 2353 | 32269 | 31935 | 33238 | 31953 | 29037 | 31631 | 32609 | 2036.1429 | 31810.2857 | 0.064009
Natural Gas Price Data
Year | Quantity Sold (million m3) | Revenue (million $) | Average ($/m3)
2020/21 | 2059 | 419 | 0.2035
2019/20 | 2147 | 391 | 0.18211
2018/19 | 2229 | 368 | 0.1651
2017/18 | 2048 | 346 | 0.16895
2016/17 | 1986 | 345 | 0.17372
2015/16 | 1846 | 356 | 0.19285
Data Sources:
Manitoba Hydro Annual Reports:
2020/21 | https://www.hydro.mb.ca/corporate/ar/pdf/annual_report_2020_21.pdf
2019/20 | https://www.hydro.mb.ca/corporate/ar/pdf/annual_report_2019_20.pdf
2018/19 | https://www.annualreports.com/HostedData/AnnualReportArchive/m/manitoba-hydro_2019.pdf
2017/18 | https://www.hydro.mb.ca/articles/2018/08/manitoba_hydro_releases_2017_18_annual_report/
2016/17 | https://www.annualreports.com/HostedData/AnnualReportArchive/m/manitoba-hydro_2017.pdf
2015/16 | https://www.annualreports.com/HostedData/AnnualReportArchive/m/manitoba-hydro_2016.pdf
2014/15 | https://www.annualreports.com/HostedData/AnnualReportArchive/m/manitoba-hydro_2015.pdf

## 2. Deep Retrofits
Energy Supply Opportunity:
Deep Retrofits of Residential and Commercial Buildings
Summary of Opportunity
One of the most cost-effective ways to "create" new electrical capacity (both peak load and energy) is to make our buildings more energy efficient.
Reducing the energy needs of a building first also reduces the subsequent cost of converting it to a low-carbon source of heat
Building retrofits that reduce energy needs in a building can be either "light" or "deep"
-Light retrofits involve less investment and achieve minimal efficiency gains, such as from upgrading furnaces, improved lighting etc.
-Deep retrofits require more upfront investment and deliver substantial energy savings
Data from NRCAN suggest that 1 million residential retrofits have occurred so far in Canada. Almost all have been "light" retrofits, achieving on average about 23% efficiency improvement. | [7 empty] | Source: "The PEER Project: Prefabricated wall panels for exterior energy retrofit of existing Canadian homes", by Jessica Webster, Mark Carver, Anil Parekh and Jeff Armstrong, CanmetENERGY Ottawa, Natural Resources Canada, jessica.webster@canada.ca
This level of retrofit will not maximize potential savings for Manitobans nor will it significantly reduce energy consumption
Deep retrofits will reduce a building's total energy consumption by 60%, 80% or even more, even to the point of becoming a "net zero energy" building. | [7 empty] | Source: See for example: https://www.och-lco.ca/green-corner-peer-project/ ; https://www.retrofitcanada.com/case-studies/sundance;
In our analysis of this opportunity, deep retrofits include a complete building enclosure upgrade (walls, roof, basement, windows, doors etc), and a switch to geothermal energy.
Rooftop solar - while a key component of many deep retrofits - is calculated separately in our tab on Solar Power
The calculations below examine how much peak load and energy could be made available by performing deep retrofits on Manitoba's residential and commercial buildings
Part A: Technical Assessment
1. What is the total amount of energy (natural gas and electricity combined) currently used in Manitoba's residential and commercial buildings?
2. What is a reasonable % decrease in energy usage when a building undergoes a deep retrofit?
3. What is the maximum amount of energy that could be saved if buildings received a deep retrofit?
4. What is the maximum amount of peak load reduction could be achieved if buildings received a deep retrofit?
5. What is a reasonable % of buildings that could receive a deep retrofit by 2050?
6. How much energy (GWh) will be saved from deep retrofits?
7. How much peak load (MW) could be obtained from deep retrofits?
1. What is the total amount of energy used in Manitoba buildings now (natural gas and electricity)?
Data from Efficiency Manitoba shows how much energy was used in 2020/21 in Manitoba's residential and commercial buildings (see next tab for full copy of Efficiency Manitoba data) | [8 empty] | Retrofit Savings
The data was received on an aggregate basis, so no individual customer information was revealed
Energy obtained from burning natural gas was calculated into KWh to obtain a common unit of energy | [6 empty] | Source: | https://apps.cer-rec.gc.ca/Conversion/conversion-tables.aspx?GoCTemplateCulture=en-CA
Manitoba Hydro has indicated the average efficiency of natural gas furnaces/boilers to be 87%, so this is the figure used to calculate gas energy to electricity units | [6 empty] | Source: | https://www.hydro.mb.ca/your_home/heating_and_cooling/space_heating_costs.pdf
We examine residential and commercial buildings separately becaue their energy use is slightly different, and this impacts how much energy we can likely reduce with deep retrofits
Building Type | Energy Type | Total Energy Used |  |  |  | Number of Customers
|  | m3 of gas | convert to KWh | Gas Efficiency | KWh or KWh-e
Residential | Electric Heat |  |  |  | 4782864560 | 212778
| -additional gas | 2684235 | 10.55 | 87% | 24637250.9475
Residential | Gas Heat | 551992141 | 10.55 | 87% | 5066459866.1685 | 256993
| -electricity |  |  |  | 3008186245
Sub-Total Residential |  |  |  |  | 12882147922.116 | 469771
Building Type | Energy Type | Total Energy Used |  |  |  | Number of Customers
|  | m3 of gas | convert to KWh | Gas Efficiency | KWh or KWh-e
Commercial | Electricity |  |  |  | 1088922188 | 10809
| -additional gas | 2628396 | 10.55 | 87% | 24124732.686
Commercial | Gas Heat | 510844797 | 10.55 | 87% | 4688788969.2645 | 17305
| -electricity |  |  |  | 1640323171
Sub-Total Commercial |  |  |  |  | 7442159060.9505 | 28114
Total |  |  |  |  | 20324306983.0665 | 497885
2. What is a reasonable % decrease in energy usage when a building undergoes a deep retrofit?
Efficiency Manitoba Fact Sheet provides energy consumption breakdown for residential and commercial buildings: | [6 empty] | Source: | https://efficiencymb.ca/articles/how-the-average-manitoba-home-uses-energy/
Not all energy used in a building can be reduced through a deep retrofit (e.g. electronics, appliances)
Energy available to be reduced is 83% in residential and 80% in commercial buildings
We assume deep retrofits will on average reduce the available energy by 80%, for toal energy savings of between 64-66%. | [6 empty] | Source: | https://www.retrofitcanada.com/case-studies/ritchie
Building Area | Residential | Commercial
Space heating | 59% | 52%
Appliance & Electronics | 17% | 20%
Hot water | 16% | 7%
Lighting | 4% | 17%
Space cooling | 4% | 4%
Sub-Total | 83% | 80%
% cut by deep retrofit | 80% | 80%
% overall energy reduced | 66.4% | 64%
3. What is the maximum amount of energy that could be saved if buildings received a deep retrofit?
With these percentages in place, we can determine the potential energy savings from deep retrofits using the total consumption data calculated above:
| Residential | Commercial
Energy consumption | 12882147922.116 | 7442159060.9505 | KWh
% energy reduction | 66.4% | 64%
Energy reduction possible | 8553746220.285 | 4762981799.0083 | KWh
Total |  | 13316728019.2933 | KWh
Total in GWh |  | 13316.728 | GWh
4. What is the maximum amount of peak load reduction could be achieved if buildings received a deep retrofit?
To calculate load reduction potential we need to know how many buildings are available and how much load could be reduced on average in each building type.
4.1 # of Buildings By Type
These calculations are provided at the bottom of the "Data from Efficiency Manitoba" tab:
Total # of single unit residential buildings |  |  | 386910
Estimated # multi-unit residential buildings |  |  | 8286.1
Estimated # commercial buildings |  |  | 2811.4
Estimated Total # of Buildings |  |  | 398007.5
4.2 Peak load reduction by building type
4.2.1 Single unit residential buildings
A typical single-detached home in Manitoba heated with methane will need 5-7 KW of peak load capacity for other household uses (hot water, lighting, appliances etc) | [7 empty] | Source: Ed Lohrenz, GEOptimize Inc.
That same home heated with electricity will need an additional 9-12 KW of peak load, for a total demand of 14-19 KW per home | [7 empty] | Source: Ed Lohrenz, GEOptimize Inc.
For our calculations, this 14-19 KW of peak load per home can be applied to all residences because all methane-heated buildings will be converted to electricity
The heating load required by an electric-heated home (9-12 KW) can be reduced by 60-75% (6-9 KW) just by converting the home to ground-source geothermal. | [7 empty] | Source: Ed Lohrenz, GEOptimize Inc.; EvolveGreen similarly said 7-8 KW needed for natural gas heated home, 18 KW for home heated with electricity.
The peak load can be further reduced by greatly improving the building enclosure/envelop
Per home peak load savings from geothermal and a better building envelop could therefore be as high as 10-11 KW, but a cautious approach is to select the low end of the range:
Estimated peak load savings per single unit residential building: |  |  | 9 | KW
Number of single-unit homes: |  |  | 386910
Estimated KW savings from homes: |  |  | 3482190 | KW
Convert to MW |  |  | 3482.19 | MW
4.2.2 Multi unit residential buildings
While multi-unit residential buildings come in a wide variety of sizes, they are on average going to be several times larger than individual homes
As such they require more peak load capacity and therefore the available savings per building will also be larger than in a single unit building.
Estimated multiplier of multi-unit vs single-unit residential buildings x |  |  | 10
Estimated peak savings per multi-unit residential building |  |  | 90
Number of multi-unit residential buildings |  |  | 8286.1
Estimated KW savings: |  |  | 745749 | KW
Convert to MW |  |  | 745.749 | MW
4.2.3 Commercial Buildings
Commercial buildings are similar to multi-unit residential buildings in that they require on average more peak load than single-unit residences
Given the very large size of many commercial buildings and the energy intensity of operations such as restaurants etc, their average peak load is likely larger than for multi-unit residences
Estimated multiplier for commercial buildings |  | x | 10
Estimated peak savings per commercial building |  |  | 90
Number of commercial buildings |  |  | 2811.4
Estimated KW savings |  |  | 253026 | KW
Convert to MW |  |  | 253.026 | MW
Maximum Peak Savings from Deep Retrofits: |  |  | 4480.965 | MW
5. What is a reasonable % of buildings that could receive a deep retrofit by 2050?
The vast majority of Manitoba's current residential and commercial buildings will still be operating in 2050
As described in our Economics section, building owners will receive a free deep retrofit using PACE financing
It is conceivable that some buildings will still not have been retrofitted by 2050.
Assumed percentage of retrofitted buildings by 2050: |  |  | 95%
Number of retrofits to complete by 2050 |  |  | 378107.125
6. How much energy (GWh) will be saved from deep retrofits?
Maximum energy savings |  |  | 13316.728 | GWh
% buildings deep retrofit by 2050 |  |  | 95%
Total Available Energy Savings |  |  | 12650.8916 | GWh
7. How much peak load (MW) could be obtained from deep retrofits?
Maximum peak load savings |  |  | 4480.965 | MW
% buildings deep retrofit by 2050 |  |  | 95%
Total Available Energy Savings |  |  | 4256.9168 | MW
Note re: Industrial Buildings
Additional energy and peak load savings from Industrial buildings in Manitoba are not included in these calculations.
Industrial customers have consumed on average 7,500 GWh per year or roughly one-third of Manitoba's domestic electricity use.
Industrial customers will also have much larger peak load demands
However, industrial processes likely account for much of these energy and peak load demands
Deep retrofits on industrial buildings will provide additional energy and peak load savings, but a lack of available data prevented any calculations

## 2.A Data from Efficiency Manito
Data from Efficiency Manitoba
for Calculating Current Total Energy Use in Manitoba Residential and Commercial Buildings
Sector Summary for Residential with Gas Heat
S# | Sector | Average Elec Custs | 20/21 kW.h | Average Use kW.h/Cust | 20/21 Revenue | Average Gas Custs | 20/21 m3 | Average Use m3/Cust | 20/21 Revenue
41 | RES SINGLE DETACHED | 229465 | 2772844920 | 12084 | 268406541.23 | 229255 | 500912059 | 2185 | 147105884.59
42 | RES MULTI INDIVIDUAL | 14700 | 127761656 | 8691 | 12788540.97 | 14969 | 26306965 | 1757 | 8223883.1
43 | RES MULTI SHARED | 1945 | 19003780 | 9769 | 1875992.34 | 2549 | 8390041 | 3292 | 2245179.05
44 | RES TOWNHOUSE/ROWHOUSE | 7449 | 62422365 | 8380 | 6275987.46 | 7677 | 12027101 | 1567 | 3892776.66
45 | RES MOBILE HOME | 742 | 8477544 | 11421 | 827135.7 | 800 | 1517602 | 1897 | 464491.18
46 | RES APARTMENT SUITE | 2317 | 13175496 | 5687 | 1402071.27 | 2366 | 2030128 | 858 | 838673.97
47 | RES COTTAGE | 45 | 347592 | 7782 | 35426.63 | 93 | 135059 | 1450 | 44515.93
49 | RES UNCODED | 330 | 4152067 | 12601 | 399049.05 | 358 | 664917 | 1856 | 200502.17
Sub-Total Residential Gas |  | 256993 | 3008186245 | 11705.3237 | 292010993.98 | 258070 | 551992141 | 2138.9241 | 163018548.6
Sector Summary for Residential with Electric Heat (Incl Geo)
S# | Sector | Average Elec Custs | 20/21 kW.h | Average Use kW.h/Cust | 20/21 Revenue | Average Gas Custs | 20/21 m3 | Average Use m3/Cust | 20/21 Revenue
41 | RES SINGLE DETACHED | 137029 | 3894461615 | 28421 | 359931441.66 | 3589 | 2568633 | 716 | 1141579.97
42 | RES MULTI INDIVIDUAL | 6359 | 117671607 | 18504 | 11041228.31 | 81 | 28293 | 351 | 15533.21
43 | RES MULTI SHARED | 1738 | 26862145 | 15459 | 2559838.24 | 19 | 14157 | 748 | 6261.36
44 | RES TOWNHOUSE/ROWHOUSE | 11703 | 174481824 | 14909 | 16634263.22 | 134 | 42626 | 319 | 28460.55
45 | RES MOBILE HOME | 8289 | 201734301 | 24338 | 18747742.33 | 49 | 18152 | 372 | 11903.22
46 | RES APARTMENT SUITE | 36650 | 286118543 | 7807 | 29104938.19 | 22 | 10566 | 480 | 5910.28
47 | RES COTTAGE | 10371 | 69740676 | 6725 | 7119426.51 | 2 | 322 | 133 | 479.09
48 | RES NON-DWELLING | 13 | 181366 | 14413 | 17368.85 | 0 | 0 | 0 | 0
49 | RES UNCODED | 626 | 11612483 | 18548 | 1083761.49 | 2 | 1486 | 743 | 626.99
Sub-Total Residential Electric Heat |  | 212778 | 4782864560 | 22478.1912 | 446240008.8 | 3898 | 2684235 | 688.6185 | 1210754.67
Total All Residential Customers: |  | 469771 | 7791050805 | 16584.7845 | 738251002.78 | 261968 | 554676376 | 2117.344 | 164229303.27
Sector Summary for Commercial for Gas
S# | Sector | Average Elec Custs | 20/21 kW.h | Average Use kW.h/Cust | 20/21 Revenue | Average Gas Custs | 20/21 m3 | Average Use m3/Cust | 20/21 Revenue
71 | OFFICE | 2982 | 270372612 | 90668 | 21791523.06 | 3559 | 50576942 | 14212 | 10792397.54
72 | RESTAURANT | 1063 | 112296035 | 105608 | 9779008.29 | 1043 | 18585490 | 17824 | 4028896.11
73 | RETAIL | 2173 | 258848879 | 119102 | 21325770.89 | 2468 | 45430545 | 18409 | 9749272.38
74 | GROCERY STORE | 548 | 144164335 | 262914 | 10663173.25 | 594 | 12291064 | 20698 | 2488210.89
75 | WAREHOUSE | 875 | 111375775 | 127335 | 9227524.49 | 1067 | 30865030 | 28936 | 6350345.79
76 | SCHOOL | 245 | 52291000 | 213723 | 4552414.2 | 554 | 35161279 | 63525 | 7014884.28
77 | COLLEGE | 65 | 16492567 | 252116 | 1267558.61 | 106 | 23218791 | 219563 | 3903113.9
78 | HOSPITAL | 24 | 11730827 | 488784 | 849865.74 | 84 | 41144624 | 492750 | 7392228.93
79 | HOTEL/MOTEL | 182 | 70340840 | 387020 | 5277589.47 | 189 | 11469771 | 60740 | 2262578.5
80 | BULK-METERED APARTMENT | 329 | 150593684 | 457732 | 11234033.69 | 390 | 34506354 | 88478 | 6705838.86
81 | COMMON SERVICE | 2134 | 61469848 | 28812 | 5814564.59 | 1854 | 58931871 | 31792 | 12145921.37
82 | PERSONAL CARE HOMES | 86 | 39538224 | 460193 | 2936391.57 | 121 | 11083065 | 91976 | 2138867.41
83 | RECREATION FACILITY | 680 | 74713526 | 109873 | 6397929.48 | 789 | 18852404 | 23899 | 3950235.08
84 | CHURCH | 766 | 34773467 | 45421 | 3206379.39 | 793 | 11461289 | 14461 | 2573839.95
88 | MISCELLANEOUS COMMERCIAL | 4914 | 220196151 | 44814 | 20572377.34 | 6206 | 101580761 | 16369 | 21278113.05
89 | COMMERCIAL NON-BUILDING | 239 | 11125400 | 46501 | 1027370.61 | 319 | 5685516 | 17851 | 1190787.05
Sub-Total Commercial Gas |  | 17305 | 1640323170 | 94788.9726 | 135923474.67 | 20136 | 510844796 | 25369.7257 | 103965531.09
Sector Summary for Commercial with Electric Heat (Incl Geo)
S# | Sector | Average Elec Cust | 20/21 KWh | Average Use KWh / Cust | 20/21 Revenue | Average Gas Cust | 20/21 m3 | Average Use m3/Cust | 20/21 Revenue
51 | AGRICULTURE/FOREST/FISH | 1137 | 202448472 | 178055 | 15915739.18 | 13 | 116319 | 8948 | 25926.57
52 | MINING | 7 | 345698 | 53184 | 32858.44 | 0 | 0 | 0 | 0
53 | FOOD/BEVERAGE | 28 | 8457809 | 301168 | 666769.21 | 1 | 164585 | 164585 | 30720.16
55 | CHEMICALS/TREATMENT | 34 | 25708652 | 763623 | 1613054.68 | 0 | 0 | 0 | 0
57 | PRIMARY METALS | 1 | 158774 | 158774 | 14469.6 | 0 | 0 | 0 | 0
58 | MISCELLANEOUS INDUSTRIAL | 216 | 17523977 | 80973 | 1589147.04 | 4 | 8417 | 1942 | 3260.67
59 | INDUSTRIAL NON-BUILDING | 608 | 48749678 | 80158 | 4253174.05 | 3 | 97110 | 32370 | 19369.14
71 | OFFICE | 1141 | 76783754 | 67285 | 6721436.98 | 18 | 61304 | 3406 | 16376.4
72 | RESTAURANT | 212 | 17404461 | 82000 | 1543596.52 | 18 | 85381 | 4743 | 23221.11
73 | RETAIL | 507 | 41098515 | 81062 | 3635024.87 | 11 | 51882 | 4544 | 12959
74 | GROCERY STORE | 161 | 18789802 | 117070 | 1564411.33 | 2 | 22282 | 11141 | 5127.07
75 | WAREHOUSE | 306 | 16490575 | 53905 | 1738805.56 | 5 | 150934 | 30187 | 29273.77
76 | SCHOOL | 265 | 52525195 | 198146 | 4667740.54 | 2 | 0 | 0 | 280
77 | COLLEGE | 18 | 1860957 | 103387 | 161801.92 | 0 | 0 | 0 | 0
78 | HOSPITAL | 36 | 11192365 | 314540 | 1216595.96 | 0 | 0 | 0 | 0
79 | HOTEL/MOTEL | 169 | 22840016 | 135081 | 1871510.65 | 3 | 3252 | 1084 | 1879.12
80 | BULK-METERED APARTMENT | 531 | 241183602 | 454135 | 17707379.99 | 54 | 959713 | 17772 | 206760.24
81 | COMMON SERVICE | 1056 | 73150119 | 69265 | 6402186.65 | 53 | 646642 | 12201 | 143237.5
82 | PERSONAL CARE HOMES | 53 | 22382189 | 420982 | 1703399.38 | 2 | 59854 | 28730 | 12082.82
83 | RECREATION FACILITY | 411 | 42711786 | 103943 | 3679752.74 | 4 | 2709 | 707 | 1222.95
84 | CHURCH | 325 | 13782692 | 42419 | 1332335.68 | 2 | 10656 | 4409 | 3090.73
88 | MISCELLANEOUS COMMERCIAL | 2186 | 92798588 | 42455 | 8726636.75 | 38 | 103576 | 2726 | 31365.25
89 | COMMERCIAL NON-BUILDING | 1343 | 39369630 | 29307 | 3940828.11 | 5 | 75911 | 16869 | 16841.84
99 | COMM UNCODED | 58 | 1164882 | 19998 | 121647.15 | 4 | 7869 | 1967 | 2139.12
Sub-Total Commercial Electric Heat |  | 10809 | 1088922188 | 100742.1767 | 90820302.98 | 242 | 2628396 | 10861.1405 | 585133.46
TOTAL - All Commercial customers |  | 28114 | 2729245358 | 97077.8032 | 226743777.65 | 20378 | 513473192 | 25197.4282 | 104550664.55
|  | Average Elec Cust | 20/21 KWh | Average Use KWh / Cust | 20/21 Revenue | Average Gas Cust | 20/21 m3 | Average Use m3/Cust | 20/21 Revenue
Grand Total - All Customers |  | 497885 | 10520296163 | 21129.9721 | 964994780.43 | 282346 | 1068149568 | 3783.1227 | 268779967.82
Total # of Customers by Heating Source:
Gas | 274298
Electric | 223587
Calculating Total # of Buildings
To calculate the total # of buildings in Manitoba, the total # of energy customers must be reduced to account for multi-unit buildings containing multiple customers (e.g. apartment blocks, shopping malls, office towers etc)
Calculating total number of single-unit residences:
Categories included are Single-Detached Homes, Mobile Homes, Cottages, Non-Dwelling and Uncoded
| Electric Heat | 156328
| Gas Heat | 230582
| Total | 386910
Calculating total number of multi-unit residential buildings:
Categories included are Res Multi Individual, Res Multi Shared, Res Townhouse/Rowhouse, Res Apartment Suite
| Electric Heat customers | 56450
| Gas Heat customers | 26411
| Total | 82861
Estimating the number of multi-unit residential buildings is difficult because there is a wide range of sizes and # of units.
As well, in some instances each unit is billed directly as a MB Hydro customer, while other times an entire building is billed as one customer.
Assumed avg # of Hydro customers/building: |  | 10
Estimated # of multi-unit residential buildings |  | 8286.1
Calculating total number of commercial buildings
| Electric Heat customers | 10809
| Gas Heat customers | 17305
| Total | 28114
As with multi-unit residential, there is a wide range in the size (shopping mall vs corner store) and billing arrangements in commercial buildings
Assumed avg # of Hydro customers/building: |  | 10
Estimated # of multi-unit residential buildings |  | 2811.4
Estimated total number of buildings in MB: |  | 398007.5

## 2.B Case Study - Geothermal
Converting Residential Buildings to Geothermal
Summary of Opportunity
This tab explores the potential of geothermal as an example of what can be accomplished with this technology
The findings below are not included in the "Energy Supply Summary Tab" because the impacts of geothermal are included in the calculations for Deep Retrofits
Geothermal technology does not create energy, it simply uses a small amount of electricity to move heat/cold energy from one place to another.
This approach makes it incredibly efficient, typically obtaining 3, 4 or even 5 units of energy for every 1 unit required.
Switching a building to geothermal will not only reduce its energy consumption, but it will also level out its peak load requirements
Ground source and water source technologies are all feasible in Manitoba. Air-to-air heat pumps only work well at mild temperatures.
The numbers below are based on ground source, because Manitoba's climate is too extreme for air source and not every building can access water
Part A: Technical Assessment
1. How many single-detached homes are heated with electricity and how many with gas?
2. How much energy (KWh) is saved when a home heated with electric heat is converted to geothermal?
3. How much electricity is required if all homes heated with natural gas are converted to geothermal?
4. What is the result in net energy from moving all homes to geothermal?
1. How many single-detached homes are heated with electricity and how many with gas?
Data from Efficiency Manitoba indicates:
-Single-detached homes using electric heat | 137029
-Single-detached homes using electric heat | 229465
2. How much energy (KWh) is saved when a home heated with electric heat is converted to geothermal?
The heating load in an electric-heated home is typically 9-12 KW. |  |  |  | Source: GEOptimize Inc; EvolveGreen
This can be cut by 60-75% - or 6 to 9 KW - by converting the home to geothermal. |  |  |  | Source: GEOptimize Inc; EvolveGreen
Assumed average peak load savings per home: | 7.5 | KW
Peak load savings potential from all electric heat homes: | 1027717.5 | KW
Convert to MW | 1027.7175 | MW
3. How much electricity is required if all homes heated with natural gas are converted to geothermal?
Heating a home with geothermal requires peak load of: | 2.5 | KW |  | Source: GEOPtimize Inc.
Peak load requirement to switch gas homes to geothermal: | 573662.5 | KW
Convert to MW | 573.6625 | MW
4. What would the net result be for peak load?
Converting electric homes to geothermal saves | 1027.7175 | MW
Converting gas homes requires | 573.6625 | MW
Net impact | 454.055 | MW
Note: The net gain of 445 MW is double the full capacity of the recent Wuskwatim dam (211 MW)
Converting all homes to geothermal would yield a net gain in energy as well:
Energy savings per electric home: | 13000 | KWh/year | Source: | GEOptimize Inc, Aki Energy
# homes with electric heat | 137029
Total potential savings: | 1781377000 | KWh
Convert to GWh | 1781.377 | GWh
Energy required for geothermal in former gas homes | 6650 | KWh/year | Source: | https://www.hydro.mb.ca/your_home/heating_and_cooling/space_heating_costs.pdf
# of homes with gas heat | 229465
Total energy required: | 1525942250 | KWh
Convert to GWh | 1525.9423 | GWh
Net energy gain: | 255.4347 | GWh

## 3. Solar Potential
Estimating Solar PV Potential in Manitoba
Summary of Opportunity
Manitoba has the 3rd best "solar resource" (sunshine) in Canada
Solar technology has improved immensely in recent years, and the cost of installing solar energy has dropped dramatically
It is cheaper to install solar energy now in Manitoba than it was during Manitoba Hydro's subsidy program two years ago
Large-scale solar energy projects exist elsewhere in Canada, and have existed for decades around the world
Solar energy in Manitoba makes up a tiny portion of our overall electricity generation, with less than 100 MW from solar in a grid of just under 6,000 MW (less than 2%)
Adding significant amounts of solar energy capacity will help replace fossil fuel use and protect Manitoba Hydro from the impacts of drought
The calculations below examine both commercial-scale ground-mounted solar projects and an estimate of the potential of rooftop solar as well
Part A: Technical Assessment for Commercial (Ground-Mounted) Solar Projects
1. How much new peak load (MW) can be created per unit of land in Manitoba?
2. How much energy (GWh) can be generated per MW of new solar capacity, given Manitoba's "solar resource" (sunshine)?
3. How much new solar capacity (MW) could reasonably be installed?
4. How much of the new capacity (MW) can be considered "firm / reliable"
1. How much new peak load (MW) can be created per unit of land in Manitoba?
Manitoba's best solar resource is in the southwest portion of the province. | [5 empty] | Source: | https://www.energyhub.org/manitoba/
The largest ground-mounted commercial solar facility in Manitoba is on Fisher River Cree Nation. | [5 empty] | Source: | https://fisherriver.ca/2020/08/fisher-river-cree-nation-unveils-manitobas-biggest-solar-farm-a-source-of-bullfrog-powers-green-energy/
It is a 1 MW facility covering 7 acres of land, which equals: |  |  | 0.14286 | MW per acre |  | Source: | https://fisherriver.ca/2020/04/the-first-nation-solar-farm-generating-power-and-making-history/
This is similar to results in Alberta, which has even more sunshine and has developed much more solar than Manitoba.
Project: | Size (MW) | Acres | MW/Acre
Prairie Sunlight Solar Project (AB) | 74 | 552 | 0.13406 |  |  | Source: | https://majorprojects.alberta.ca/details/Prairie-Sunlight-Solar-Project-Phase-1/3818
Fisher River Cree Nation (MB) | 1 | 7 | 0.14286
Travers Solar Project (AB) | 465 | 3300 | 0.14091 |  |  | Source: | https://majorprojects.alberta.ca/details/Travers-Solar-Project/3656
Barlow Solar Project (AB) | 27 | 156 | 0.17308 |  |  | Source: | https://majorprojects.alberta.ca/details/Barlow-Solar-Project/3811
E.L. Smith Solar Farm (AB) | 12 | 57 | 0.21053 |  |  | Source: | https://majorprojects.alberta.ca/details/E-L-Smith-Solar-Farm/3616
Using the Fisher river project as a reasonable average for future Manitoba projects:
-Every 1,000 MW of ground-mounted commercial solar power will require: |  |  | 7000 | acres
To put this into perspective:
-the City of Winnipeg is | 115000 | acres
-the province of Manitoba is | 160000000 | acres
Conclusion: availability of space does not appear to be a barrier to commercial-scale solar expansion in Manitoba
2. How much energy (GWh) can be generated per MW of new solar capacity, given Manitoba's "solar resource" (sunshine)?
Information from Living Skies Solar shows the amount of KWh per installed KW from ground-mounted solar panels angled at 50 degrees in different Manitoba locations:
| Dauphin | 1652
| Pinawa | 1587
| Virden | 1645
| Winnipeg | 1586
| Average | 1617.5 | KWh per KW
Convert to GWh per MW installed: |  | 1.6175 | GWh per MW
3. How much new solar capacity (MW) could reasonably be installed?
Reasonable amount of solar: | 4050 | MW
Energy created | 6550.875 | GWh per year
Land required | 28350 | acres
This is equal to: | 44.2969 | sections of land
| 24.65% | of Winnipeg
| 0.01772% | or 1/5700th of Manitoba
4. How much of the new capacity (MW) can be considered "firm / reliable"
The amount of energy created vs installed capacity of solar is lower than hydroelectric energy because the sun is not always shining.
Canada's Energy Regulator says the capacity factor for large-scale (50 MW +) commercial solar projects in Manitoba is estimated to be 20% | [7 empty] | https://www.cer-rec.gc.ca/en/data-analysis/energy-commodities/electricity/report/solar-power-economics/economics-solar-power-in-canada-results.html
-in other words, on average it will be sunny for 20% of the hours in a year
Manitoba Hydro suggests a more cautious number of 13-14%
We accept Manitoba Hydro's lower range: |  | 0% | **Updated after talks with MB Hydro
Assumed MW of firm load available: |  | 0 | MW
Part B: Estimating the Potential of Rooftop Solar Energy
1. How many buildings in Manitoba could install rooftop solar?
2. How much peak load capacity (KW) could the average building install?
3. How much rooftop solar capacity could be installed province-wide?
4. How much of that capacity could be considered firm?
5. How much energy (GWh) would be created?
1. How many buildings in Manitoba could install rooftop solar?
Using data from Efficiency Manitoba, we estimate the number of buildings in Manitoba to be:
398007.5
However, not all buildings will be suitable for rooftop solar (too small, shady, wrong roof angle etc)
Some buildings already have rooftop solar, but this is assumed to be a negligible number.
Assumed % of capable buildings: |  | 50%
# of capable buildings is |  | 199003.75
2. How much capacity (KW) could the average building install?
The average rooftop solar panel has a capacity of 300 watts (0.3 KW) and is 18 sq ft in size | [5 empty] | Source: https://www.energyhub.org/manitoba/
Buildings come in many different sizes. To err on the side of caution we assume the average building roof is only: | [5 empty] | Updated source: Living Skies Solar re 0.4 KW per panel now
|  | 1000 | sq ft
A 1,000 sq ft building however will not have 1,000 sq ft of ideal space for rooftop solar due to roof sloping, trees etc
Assumed available space per building: |  | 360 | sq ft
Size of solar panels |  | 18 | sq ft
# of panels per building |  | 20
KW per panel |  | 0.4 | KW
KW per building |  | 8 | KW
Convert to MW |  | 0.008 | MW
3. How much rooftop solar capacity could be installed province-wide?
Estimated # of capable buildings: |  | 199003.75
Estimated average KW installed per building: |  | 8 | KW
Estimated province-wide potential |  | 1592030 | KW
Convert to MW ( /1000) |  | 1592.03
% of buildings to be retrofitted by 2050 |  | 95%
Convert to MW ( /1000) |  | 1512.4285 | MW
4. How much of the rooftop capacity could be considered firm?
Using the same rationale for this as applied above for commercial solar projects:
Assumed ratio of installed MW to firm load: |  | 0%
Estimated amount of firm load from total MW: |  | 0 | MW
5. How much energy (GWh) would be created by this amount of rooftop solar?
We found three different data sources:
5.1 Energy Hub website suggests on average across Manitoba 1272 KWh of energy is created per KW installed solar capacity | [7 empty] | Source: | https://www.energyhub.org/manitoba/
5.2 Information supplied by Living Skies Solar indicates the following energy generation values for rooftop solar in various Manitoba communities
|  | Southern Region (95% population) |  |  |  | Northern Region (5% pop)
|  | Virden | Pinawa | Dauphin | Winnipeg | Thompson | The Pas
| South-Facing | 1539 | 1488 | 1532 | 1490 | 1346 | 1360
| -10% snow | -153.9 | -148.8 | -153.2 | -149 | -134.6 | -136
| Adjusted | 1385.1 | 1339.2 | 1378.8 | 1341 | 1211.4 | 1224
| Regional Avg | 1361.025 |  |  |  | 1217.7
| Weighted Avg | 1292.9738
Manitoba Hydro suggests rooftop solar performance is more in the range of 1,200 KWh per KW installed capacity
Using Hydro's more cautious estimate: |  |  | 1200 | KWh per KW installed capacity
Amount of installed capacity: |  |  | 1592030 | KW
Amount of energy generated: |  |  | 1910436000 | KWh
Convert to GWh ( /1,000,000) |  |  | 1910.436 | GWh
Note on E49: Carman, MB with "bifacial" solar modules -Riley Unger ---- Brandon, MB with small amount of shading -Riley Unger

## 4. Wind Potential
Estimating Wind Potential in Manitoba
Summary of Opportunity
Manitoba has a significant "wind resource", especially in the southern portion of the province and in the Interlake region |  |  |  |  | Source: | https://www.nrcan.gc.ca/sites/www.nrcan.gc.ca/files/canmetenergy/pdf/fichier/81770/windtrm_resource_map.pdf
Extensive mapping of our wind resource hasn't happened yet, so the calculations below are based on best available data.
Adding a significant yet reasonable amount of wind energy will diversify Manitoba's grid and reduce the risks of climate change
Increasing our use of wind power will help provide the electricity we need to stop using fossil fuels.
Part A: Technical Assessment
1. How much economically viable (capacity factor of .4 or better) wind power potential (in MW) is there in Manitoba?
2. How many GWh would this additional wind power produce?
3. How much of the installed MW capacity could be considered "firm" power with sufficient energy storage?
1. How much economically viable (capacity factor of .4 or better) wind power potential (in MW) is there in Manitoba?
Data on the size and location of Manitoba's wind resource is not readily publicly available.
Much of the data collected to date was done and is owned by private wind power companies
It is however well-understood that Manitoba has a significant wind resource. We just haven't captured much of it yet.
By comparison:
-Ontario is the Canadian leader with 94 wind farms containing 2,681 turbines and total capacity of 5,436 MW. |  |  |  |  | Source: | Arbez
-Alberta has 38 wind farms with 1,781 MW of installed wind capacity |  |  |  |  | Source: | https://www.greenalbertaenergy.ca/statistics.html
-North Dakota has 1,500 wind turbines with installed capacity of 3,000 MW |  |  |  |  | Source: | https://www.energynd.com/resources/wind/
-Manitoba has 2 wind farms with 133 turbines and capacity of 260 MW |  |  |  |  | Source: | https://www.gov.mb.ca/sd/environment_and_biodiversity/energy/wind/windfarms.html
Wind power technology continues to improve, so modern turbines generate more electricity than their predecessors
For example, a turbine with 80-meter hub height could achieve 40% capacity factor, while modern 115-hub turbines achieve 50%. |  |  |  |  | Source: | Arbez, Marc.
Arbez has used meterological data to suggest many thousand MW of wind capacity is entirely possible |  |  |  |  | Source: | https://journals.sagepub.com/home/wie
Given the demonstrated size of the wind resource in neighbouring jurisdictions and projection by Arbez:
Chosen amout of new wind power Manitoba should install: |  |  | 4000 | MW
2. How many GWh would this additional wind power produce?
For example, the Vesta V126-3.0 Wind Turbine will provide:
MW installed | 3
Capacity factor | 50%
GWh per turbine per year | 13.3
GWh per MW installed | 4.4333
Calculations:
Chosen wind energy goal: | 4000 | MW
# new turbines needed | 1333.3333
GWh provided | 17733.3333 | GWh
3. How much of the installed MW capacity could be considered "firm" power with sufficient energy storage?
Modern wind turbines have a capacity factor of 50% or better
Future technological improvements could see this number increase over time
Manitoba Hydro has suggested 40% as a more cautious number, which we accept.
Chosen wind power goal: | 4000 | MW
Capacity factor: | 40%
Firm power: | 1600 | MW
Notes on Land Requirement:
To properly capture a wind resource, individual turbines are spread out over large areas
The actual footprint of a wind turbine is very small, only 0.75 acres per installed MW including the turbine itself and all access roads. |  |  |  |  | Source: | https://sciencing.com/much-land-needed-wind-turbines-12304634.html
Roughly 3 sections of land (less than 2,000 acres) is needed to install 2,700 MW of new wind turbines.

## 5. Energy Storage
Energy Storage
Summary of Opportunity
There is a growing market for energy storage as battery technology matures, leading to lower costs and increasing capacity
The three major opportunities in Manitoba to increase energy storage are buildings, electric vehicles and commercial-scale battery-based facilities.
Energy storage has multiple benefits: load leveling, capacity firming, deferred upgrade costs for existing infrastructure, and increasing grid resilience and stability
Manitoba will need to increase its capacity to store energy as spot market exports are returned for domestic use and as more intermittent energy sources (solar & wind) are added to our grid.
Part A: Technical Assessment
1. What is the energy storage potential from buildings in MB?
2. What is the commercial energy storage potential in MB?
3. What is the Vehicle-to-Grid energy storage potential if all cars in MB were electric?
4. What is the storage potential of all Manitoba Hydro dams currently in use?
1. What is the energy storage potential from buildings in MB?
A few of the most common energy storage systems are currently at the residential level, such as the Tesla Powerwall, Panasonic EverVolt, and Generac PWRcell
By 2050, it is expected similar energy storage products will be available for larger buildings.
The average power, capacity, and cost of the three systems will provide a reasonable estimate of a common residential energy storage system
Name of Battery | Battery Type | Power Rating (kW) | Energy Capacity (kWh)
Tesla Powerwall | Li-Ion | 5 | 13.5 | [5 empty] | https://news.energysage.com/tesla-powerwall-battery-complete-review/
Panasonic EverVolt | Li-Ion | 4.6 | 11.4 | [5 empty] | https://news.energysage.com/the-panasonic-evervolt-home-battery-complete-review/
Generac PWRcell | Li-Ion | 6.7 | 18 | [5 empty] | https://news.energysage.com/generac-pwrcell-battery-review/
Average |  | 5.4333 | 14.3
We estimate the current number of residential and commercial buildings in Manitoba to be: |  |  | 398007.5
Manitoba Hydro's 2018 Electric Load Analysis predicts growth of 1.0-1.5% per year. |  |  | 1%
Assuming a 1% growth rate, the total # of estimated buildings by 2050 will be roughly: |  |  | 530000
The % of these buildings assumed to have on-site energy storage in 2050 is: |  |  | 20% | [5 empty] | https://www.mckinsey.com/industries/electric-power-and-natural-gas/our-insights/how-residential-energy-storage-could-help-support-the-power-grid
Storage Type | Total # of Buildings | Percentage of homes with Storage Systems | # of Building Storage Systems | Power Potential (MW) | Total Energy Capacity (MWh)
Buildings | 530000 | 20% | 106000 | 575.9333 | 1515.8
"Firm" Capacity Factor of building batteries | 80%
Total Firm Power Available from Buildings | 460.7467 | MW
2. What is the commercial energy storage potential in MB?
An analysis of the cost and power capacity of major energy storage projects around the world will help assess the potential for MB
Li-Ion batteries are the most cost-effective and commonly used battery technology in large scale projects
Large Scale Projects - Battery Energy Storage Systems (Year Built/Location) | Type of Battery | Total Power (MW) | Total Energy Capacity (MWh) | Energy Duration (hr) | Estimated Lifespan (yr) | Total Cost (CDN) | Cost per MW | USD to CAD Conversion
Hornsdale Power Reserve (2017/Australia) | Li-ion | 100 | 129 |  | 15 | 113400000 | 1134000 | 1.26 | https://reneweconomy.com.au/revealed-true-cost-of-tesla-big-battery-and-its-government-contract-66888/
Wallgrove Grid Battery Project (2022/Australia) | Li-ion | 50 | 75 | 1.25 | 15 | 77994000 | 1559880 |  | https://www.pv-magazine-australia.com/2020/10/23/nsw-to-get-first-big-battery-with-arena-backing/
Manatee Energy Storage Centre | Li-ion | 409 | 900 | 2.2005 | 15 | 441000000 | 1078239.6088 |  | https://www.gvip.io/p/manatee-energy-storage-center
Lithuania Battery Storage Project | Li-ion | 200 | 200 | 1 | 15 | 147420000 | 737100 |  | https://www.nsenergybusiness.com/news/lithuania-to-build-117-6m-large-scale-battery-park/
Broad Reach Power (North Fork and Bat Cave) | Li-ion | 200 | 200 | 1 | 15 | 157500000 | 787500 |  | https://broadreachpower.com/broad-reach-power-brings-two-100-megawatt-battery-storage-projects-online-in-central-texas/
Saticoy BESS in California | Li-ion | 100 | 400 | 4 | 15 |  |  |  | https://www.energy-storage.news/large-scale-battery-storage-plant-chosen-by-california-community-as-alternative-to-gas-goes-online/
Moss Landing Energy Storage Facility | Li-ion | 400 | 1200 | 4 | 15 |  |  |  | https://investor.vistracorp.com/2021-08-19-Vistra-Completes-Expansion-of-Battery-Energy-Storage-System-at-its-Flagship-California-Facility
Gateway Energy Storage Facility | Li-ion | 250 | 250 | 1 | 15 |  |  |  | https://www.energy-storage.news/amid-californias-heatwaves-and-fires-worlds-largest-battery-project-is-being-switched-on/
Hokkaido VRFB energy storage plant | Vanadium Flow | 15 | 60 | 4 | 20 | 252000000 | 16800000 |  | https://www.greencarcongress.com/2013/07/hokkaido-20130707.html
VRB Energy Storage Plant in Hubei | Vanadium Flow | 100 | 500 | 5 | 20 |  |  |  | https://www.pv-magazine.com/2021/03/17/canadian-start-up-wants-to-build-gigafactory-for-vanadium-flow-batteries-in-china/
Abu Dhabi Power plant | Sodium-Sulphur | 108 | 648 | 6 | 15 |  |  |  | https://cleantechnica.com/2019/02/03/sodium-sulfur-battery-in-abu-dhabi-is-worlds-largest-storage-device/
Mitsubishi Buzen Substation in Japan | Sodium-Sulphur | 50 | 300 | 6 | 15 |  |  |  | https://electronics360.globalspec.com/article/6402/mitsubishi-installs-50mw-energy-storage-system-to-japanese-power-company
Normally, 0.8GW of back-up energy storage is required for about every GW of wind and solar capacity | [8 empty] | https://reneweconomy.com.au/much-storage-needed-solar-wind-powered-grid-47605/
-In Manitoba the situation is different because of our ability to store large amounts of energy in hydro dam reservoirs
-Manitoba will also have additional storage capacity from buildings and electric vehicles. Most energy generated by rooftop solar will be used by buildings.
-The total amount of energy requiring storage will occur over a year and not arrive all at once
We are left with an educated guess as to the reasonable amount of commercial energy storage required:
Commercial storage required | 2000 | MW installed
Adjust for Firm Capacity Factor | 80%
Firm load available from Commercial storage: | 1600 | MW
3. What is the Vehicle-to-Grid energy storage potential if all cars in MB were electric?
Current road vehicles in MB as of Dec 2021 | 1082372 | [5 empty] | Source: | MPI Data (Dec 1, 2021)
Assumed growth per year | 0.5% | [5 empty] | Source: | https://www.gov.mb.ca/sd/environment_and_biodiversity/energy/pubs/elec_vehicle_road_map.pdf
Estimated # of road vehicles in 2050 | 1238397.927
Estimated % that should be full EV in 2050 | 95%
Estimated # of EV's available to store energy | 1176478.0306
Estimated usable KW per vehicle for V2G storage: | 10 | KW |  |  |  |  | Source: | https://www.nrel.gov/docs/fy17osti/69017.pdf
Estimated Potential Power Available | 11764.7803 | MW
% of vehicles available | 25%
Total stored power available at peak demand time | 2941195.0766 | KW
Firm load available from Electric Vehicles: | 2941.1951 | MW
4. What is the storage potential of all Manitoba Hydro dams currently in use?
Manitoba Hydro uses the reservoirs behind its dams to store energy. | [6 empty] | Source: | https://www.hydro.mb.ca/articles/2019/10/energy_storage_at_manitoba_hydro/
Manitoba Hydro has a contract with Minnesota Power to "firm up" wind power generated by the company's wind turbines in North Dakota | [6 empty] | Source: | https://www.utilityproducts.com/transmission-distribution/article/16010545/minnesota-power-manitoba-hydro-sign-purchase-agreement-including-wind-storage
This agreement is for up to 187 MW and the deal expires in 2035, so this firming capacity would be added to Manitoba's own storage potential by 2050, except:
-Manitoba Hydro has indicated this storage capacity is needed to meet expected domestic load growth and so shouldn't be counted as storage potential
Return Firming Capacity to Manitoba: | 0 | MW